## Slide 1
Contamination Control Strategy – The Newcastle Experience
Simon Cox
Senior Biomedical Scientist
Newcastle Advanced Therapies

## Slide 2
Background:
The Contamination Control Strategy:
Evolved from an increased awareness of the requirement to control the risks associated with contamination.
Has gained elevated importance and substance following regulatory reports & recalls.
Is driven by the need to identify, evaluate and reduce risk in order to provide an optimally safe product.
Is a prominent feature of the new Annex 1 draft.

## Slide 3
What is it?:
A cyclical process:
Identify & score risk
Assess existing controls
Identify & implement additional controls
Monitor
Periodic review
Whole facility holistic approach:
Part of Quality Risk Management (QRM)
Encompasses all activity
Drives change and improvement
Living document

## Slide 4
To provide an all-encompassing
approach to
identify,
evaluate,
control
and
mitigate
the risk of
contamination from
all potential sources.

## Slide 5
User defined:
What does it look like:
Facility design & controls
Equipment
Materials
Training
Cleaning & sanitisation
Process design
Suppliers
Transportation
Personnel
Waste handling
Validation & Qualification
Monitoring systems – particle / pressure
Storage
Maintenance
Documentation
Gowning & PPE
HVAC system
Quarantine & Release
Environmental monitoring
Contamination Control Strategy
Facility & Systems Management
QA, QC & Validation
Manufacturing / Processing Control
Audit Programme & Inspection
Personnel & Training
Documentation and Record Keeping

## Slide 6
3 Sections:
Description
Scaffold
Documentation
Plan
How to evaluate, assess and mitigate risk.
Analysis
Continuous assessment methods
Process map
Controls
Process in event of deviation (increased / changed risk profile)
Improvement
Effectiveness review
Feedback mechanisms
Defined end-points.

## Slide 7
Using the tools:
Strategy
Analysis
CQA
Risk Assessment
Deviation

## Slide 8
One more thing:
Objectionable Organisms
Location
Pathogenicity
Characteristics
Normal flora

## Slide 9
Contamination

## Slide 10
Acknowledgements:
Newcastle Upon Tyne Hospitals NHS Foundation Trust
Adam Walker - Highly Specialist QA Pharmacist and QP –
David Ryan – Senior Biomedical Scientist (QC Specialist)
Dawn Hiles – QA/QC Manager